Gosford Passing Loops Monitoring Data

| Licensee: | Downer Edi Works Pty Ltd | Address: | 15 Watt St, Gosford | EPL No. | 20269 |
| --- | --- | --- | --- | --- | --- |
| Sampled: | Throughout August | Obtained: | Throughout August | Published: | 12/09/2014 |

|  | Noise Monitoring Results |
| --- | --- |
| Location | Date | Time | Measured (LAeq 15 min) | Predicted noise level | Comments |

NOTES

No noise monitoring undertaken during August 2014

Dust Deposition Results

Air concentration limits are specified in EPL Condition L2.4.  Table 2 specifies the Air Concentration Limits for the Project.

Table 2 Air Concentration Limits

| Pollutant | Units of Measure | 100 percentile concentration limit | Reference Conditions | Oxygen correction | Averaging period |
| --- | --- | --- | --- | --- | --- |
| Insoluble solids | Grams per square metre per month | 4 | Maximum total insoluble solids |  | Month |

Details on the location of the three Dust Deposition Gauges are provided in Table 3 and in Figure 1. The monitoring locations are consistent with EPL Condition P1.1.

Table 3 Monitoring Locations

| EPA Identification no. | Type of Monitoring Point | Location Description |
| --- | --- | --- |
| 2 | Dust deposition gauge (reference gauge) | 73A Showground Road, Narara |
| 3 | Dust deposition gauge | 520 Pacific Highway, Wyoming (near crusher site) |
| 4 | Dust deposition gauge | 4 Renwick Street Wyoming (crusher site) |

Table 4 Monitoring Results

| Monitoring Point | Date | Units of Measure | Insoluble solids | 100 percentile concentration limit |
| --- | --- | --- | --- | --- |
| August 2014 |
| EPA 2 | 14/07/14 – 15/08/14 | Grams per square metre per month | 0.9 | 4 |
| EPA 3 | 14/07/14 – 15/08/14 | Grams per square metre per month | 0.6 | 4 |
| EPA 4 | 14/07/14 – 15/08/14 | Grams per square metre per month | **Sample unable to be attained | 4 |

** For the August 2014 sampling period, a sample could not be obtained from monitoring point four due to the bottle and funnel being removed by persons unknown during the last week of sampling. The bottle and funnel were replaced for the September sampling period.

Surface Water Discharge Monitoring

Licence condition L2.1 states that for each monitoring discharge point or utilisation area specified in the table below, the concentration of a pollutant discharged at that point, or applied to that area, must not exceed the concentration limits specified for that pollutant in the table Licence condition L2.5 details water concentration limits. These limits are detailed below in Table 4. The monitoring data results can be found in Table 5.

Table 4- Water concentration limits

| Pollutant | Units of Measure | 100 percentile concentration limit |
| --- | --- | --- |
| Oil and grease | Visible | Visible |
| pH | pH | 6.5 – 8.5 |
| Total Suspended Solids | Milligrams per litre (mg/L) | 50 |

Table 5- Surface water discharge monitoring results for July 2014

| EPA Monitoring Point | Location | Total Suspended Solids (mg/L) | Turbidity (NTU) | pH | Oil and Grease | Date of Release |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Brady's Gully | 9.5 | 21.5 | 7.2 | Not visible | 1/08/2014 |
| 8 | Wyoming Creek | 27.2 | 32.8 | 8.2 | Not visible | 1/08/2014 |
| 8 | Wyoming Creek | 5.3 | 6.34 | 6.7 | Not visible | 5/08/2014 |
| 8 | Wyoming Creek | 36.9 | 44.4 | 8.4 | Not visible | 6/08/2014 |
| 1 | Brady's Gully | 18.6 | 42.3 | 8.4 | Not visible | 6/08/2014 |
| 5 | Lindsey St (E4) | 32.6 | 39.3 | 7.9 | Not visible | 7/08/2014 |
| 1 | Brady's Gully | 5.8 | 13.2 | 7.7 | Not visible | 8/08/2014 |
| 8 | Wyoming Creek | 23.1 | 27.8 | 7.8 | Not visible | 8/08/2014 |
| 5 | Lindsey St (E4) | 25.5 | 30.7 | 6.6 | Not visible | 8/08/2014 |
| 6 | Dwyer St (E5) | 41.3 | 49.8 | 7.1 | Not visible | 8/08/2014 |
| 1 | Brady's Gully | 18.2 | 41.3 | 6.8 | Not visible | 9/08/2014 |
| 8 | Wyoming Creek | 24.2 | 29.2 | 6.5 | Not visible | 9/08/2014 |
| 1 | Brady's Gully | 5.5 | 12.5 | 8.3 | Not visible | 11/08/2014 |
| 8 | Wyoming Creek | 4.6 | 5.6 | 8.4 | Not visible | 11/08/2014 |
| 6 | Dwyer St (E5) | 9.5 | 11.4 | 6.6 | Not visible | 11/08/2014 |
| 5 | Lindsey St (E4) | 23.8 | 28.7 | 8.4 | Not visible | 12/08/2014 |
| 1 | Brady's Gully | 6.7 | 15.2 | 7.6 | Not visible | 12/08/2014 |
| 8 | Wyoming Creek | 5.9 | 7.16 | 8.4 | Not visible | 12/08/2014 |
| 5 | Lindsey St (E4) | 24.1 | 29 | 7.8 | Not visible | 13/08/2014 |
| 1 | Brady's Gully | 12.8 | 29.1 | 8.4 | Not visible | 14/08/2014 |
| 8 | Wyoming Creek | 14.6 | 17.6 | 7.8 | Not visible | 14/08/2014 |
| 5 | Lindsey St (E4) | 49.1 | 59.2 | 7.72 | Not visible | 14/08/2014 |
| 1 | Brady's Gully | 16.8 | 38.2 | 7.1 | Not visible | 15/08/2014 |
| 1 | Brady's Gully | 13.4 | 30.4 | 8.01 | Not visible | 18/08/2014 |
| 1 | Brady's Gully | 13.1 | 29.8 | 8.14 | Not visible | 20/08/2014 |
| 5 | Lindsey St (E4) | 12.5 | 15 | 6.9 | Not visible | 20/08/2014 |
| 1 | Brady's Gully | 11.3 | 25.6 | 6.7 | Not visible | 21/08/2014 |
| 1 | Brady's Gully | 10.6 | 24.1 | 7.2 | Not visible | 25/08/2014 |
| 5 | Lindsey St (E4) | 23.5 | 28.3 | 7.8 | Not visible | 25/08/2014 |
| 6 | Dwyer St (E5) | 8.5 | 10.3 | 7.7 | Not visible | 25/08/2014 |
| 7 | Culvert South of A4 | 32.3 | 38.9 | 7.5 | Not visible | 25/08/2014 |
| 5 | Lindsey St (E4) | 20.3 | 24.5 | 8.1 | Not visible | 26/08/2014 |
| 5 | Lindsey St (E4) | 32.5 | 39.1 | 8.3 | Not visible | 28/08/2014 |
| 1 | Brady's Gully | 11.4 | 25.8 | 6.8 | Not visible | 29/08/2014 |
| 1 | Brady's Gully | 18.5 | 42 | 7.2 | Not visible | 29/08/2014 |