Gosford Passing Loops Monitoring Data

| Licensee: | Downer Edi Works Pty Ltd | Address: | 15 Watt St, Gosford | EPL No. | 20269 |
| --- | --- | --- | --- | --- | --- |
| Sampled: | Throughout June | Obtained: | Throughout June | Published: | 01/07/2014 |

|  | Noise Monitoring Results |
| --- | --- |
| Location | Date | Time | Measured (LAeq 15 min) | Predicted noise level | Comments |
| 24 Campbell Street, Gosford | 14/06/14 | 1020 | 52.5 | 72.5 | Excavation of electrical pit adjacent the switchyard involving an 8t excavator. |
| 334 Mann Street, Gosford | 14/06/14 | 1345 | 59.4 | 60.0 | Connection of HV jointing involving one boom truck. Works were inaudible with the measurement dominated by traffic on Racecourse Road. |
| 5 Cary Street | 18/06/14 | 1917 | 56.6 | 49 | Connection of water main adjacent Booth Car yard involving 5t excavator. Site works were inaudible with the measurement dominated by traffic on Cary Street. |
| 520 Pacific Highway, Wyoming | 19/06/14 | 0921 | 33 | 37 | Operation of pump. |

NOTES

Monitoring results showed that actual noise impacts were below predicted levels. Two exccedances were recorded due to the high level of non-construction related noise at receiver (frequent vehicle pass). Observations during the measurement showed construction impacts were inaudible. Affected sensitive receivers were notified of the upcoming works via letter box drops

Dust Deposition Results

Air concentration limits are specified in EPL Condition L2.4.  Table 2 specifies the Air Concentration Limits for the Project.

Table 2 Air Concentration Limits

| Pollutant | Units of Measure | 100 percentile concentration limit | Reference Conditions | Oxygen correction | Averaging period |
| --- | --- | --- | --- | --- | --- |
| Insoluble solids | Grams per square metre per month | 4 | Maximum total insoluble solids |  | Month |

Details on the location of the three Dust Deposition Gauges are provided in Table 3 and in Figure 1. The monitoring locations are consistent with EPL Condition P1.1.

Table 3 Monitoring Locations

| EPA Identification no. | Type of Monitoring Point | Location Description |
| --- | --- | --- |
| 2 | Dust deposition gauge (reference gauge) | 73A Showground Road, Narara |
| 3 | Dust deposition gauge | 520 Pacific Highway, Wyoming (near crusher site) |
| 4 | Dust deposition gauge | 4 Renwick Street Wyoming (crusher site) |

Table 4 Monitoring Results

| Monitoring Point | Date | Units of Measure | Insoluble solids | 100 percentile concentration limit |
| --- | --- | --- | --- | --- |
| June 2014 |
| EPA 2 | 13/5/14 – 14/6/14 | Grams per square metre per month | 0.7 | 4 |
| EPA 3 | 13/5/14 – 14/6/14 | Grams per square metre per month | 0.5 | 4 |
| EPA 4 | 13/5/14 – 14/6/14 | Grams per square metre per month | 0.6 | 4 |

Surface Water Discharge Monitoring

Licence condition L2.1 states that for each monitoring discharge point or utilisation area specified in the table below, the concentration of a pollutant discharged at that point, or applied to that area, must not exceed the concentration limits specified for that pollutant in the table Licence condition L2.5 details water concentration limits. These limits are detailed below in Table 4. The monitoring data results can be found in Table 5.

Table 4- Water concentration limits

| Pollutant | Units of Measure | 100 percentile concentration limit |
| --- | --- | --- |
| Oil and grease | Visible | Visible |
| pH | pH | 6.5 – 8.5 |
| Total Suspended Solids | Milligrams per litre (mg/L) | 50 |

Table 5- Surface water discharge monitoring results for June 2014

| EPA Monitoring Point | Location | Total Suspended Solids (mg/L) | Turbidity (NTU) | pH | Oil and Grease | Date of Release |
| --- | --- | --- | --- | --- | --- | --- |
| 6 | Dwyer St (E5) | 22.5 | 27.1 | 8.4 | Not visible | 11/06/2014 |
| 6 | Dwyer St (E5) | 49.4 | 59.5 | 8.4 | Not visible | 16/06/2014 |
| 6 | Dwyer St (E5) | 43.7 | 52.7 | 8.02 | Not visible | 19/06/2014 |
| 6 | Dwyer St (E5) | 10.9 | 13.1 | 6.7 | Not visible | 20/06/2014 |
| 6 | Dwyer St (E5) | 13.8 | 16.6 | 8.2 | Not visible | 24/06/2014 |
| 6 | Dwyer St (E5) | 12.5 | 15.1 | 7 | Not visible | 25/06/2014 |
| 6 | Dwyer St (E5) | 8.1 | 9.71 | 7.2 | Not visible | 26/06/2014 |
| 6 | Dwyer St (E5) | 46.1 | 55.6 | 7.9 | Not visible | 27/06/2014 |
| 6 | Dwyer St (E5) | 15.9 | 19.1 | 7.3 | Not visible | 30/06/2014 |